## Appendix B Candidate Deferral
PG&E 2023 Distribution Deferral Opportunity Report (DDOR)
Appendix B: Candidate Deferral Opportunities
Version Date: 8/15/2023
Public
[14 empty] | Expected Performance and Operational Requirements | [10 empty] | Customer Count
DDOR ID | Previous DDOR? | Distribution Planning Region | Division | Project Type | Project Name | Project Description | In-Service Date | AACE Class | Unit Cost of Traditional Mitigation ($k) | Estimated LNBA Value ($/kW-yr) | Estimated LNBA Value ($/MWh-yr) | Estimated LNBA Value ($/MWh-Day) | Estimated LNBA Value ($/Vpu-yr) | GNA ID | Facility ID | GNA Facility Name | Distribution Service Required | Real Time (RT) or Day Ahead (DA) | Grid Need | Grid Need Unit | Month | Calls/Year | Hours | Duration (Hours) | Residential | Agricultural | Commercial | Industrial | Other | Total
DDOR075 | Yes | Central Valley | Fresno | Bank and Feeder | GIFFEN BANK 2 | INSTALL GIFFEN BANK 2 | 2026-04-01 | 5 | 13500 | 65.1375 | 10.3125 | 19122.3907 |  | GNA_2531501_Capacity | 2531501 | GIFFEN BANK 1 | Capacity | DA | 10.57 | MW | 4-10 | 198 | 12AM - 12AM | 24 | 181 | 153 | 70 | 4 | 0 | 408
DDOR075 | Yes | Central Valley | Fresno | Bank and Feeder | GIFFEN BANK 2 | INSTALL GIFFEN BANK 2 | 2026-04-01 | 5 | 13500 | 65.1375 | 10.3125 | 19122.3907 |  | GNA_253151103_Capacity | 253151103 | GIFFEN 1103 | Capacity | DA | 0.2096 | MW | 6-7 | 30 | 6 AM - 10PM | 10 | 141 | 84 | 42 | 2 | 0 | 269
DDOR075 | Yes | Central Valley | Fresno | Bank and Feeder | GIFFEN BANK 2 | INSTALL GIFFEN BANK 2 | 2026-04-01 | 5 | 13500 | 65.1375 | 10.3125 | 19122.3907 |  | GNA_253151102_Capacity | 253151102 | GIFFEN 1102 | Capacity | DA | CC | MW | CC | CC | CC | CC | 40 | 69 | 26 | 2 | 0 | 137
DDOR077 | Yes | Central Valley | Yosemite | Feeder | STOREY 1103 | INSTALL NEW FEEDER STOREY 1103 | 2026-05-01 | 5 | 2872 | 24.947 | 23.2451 | 19694.8429 |  | GNA_2546102_Capacity | 2546102 | STOREY BANK 2 | Capacity | DA | 11.242 | MW | 6-9 | 122 | 2PM-11PM | 9 | 8376 | 333 | 799 | 181 | 79 | 9768
DDOR077 | Yes | Central Valley | Yosemite | Feeder | STOREY 1103 | INSTALL NEW FEEDER STOREY 1103 | 2026-05-01 | 5 | 2872 | 24.947 | 23.2451 | 19694.8429 |  | GNA_254611107_Capacity | 254611107 | STOREY 1107 | Capacity | DA | 1.7284 | MW | 6-9 | 114 | 12 PM-9 PM | 8 | 2779 | 9 | 462 | 116 | 24 | 3390
DDOR080 | Yes | South Bay and Central Coast | Central Coast | Bank and Feeder | GREEN VALLEY BANK 4 | INSTALL GREEN VALLEY BANK 4 AND FEEDERS | 2026-05-01 | 5 | 25920.7842 | 125.8083 | 40.8196 | 66990.15 |  | GNA_0831903_Capacity | 0831903 | GREEN VALLEY BANK 3 | Capacity | DA | 4.7511 | MW | 4-12 | 196 | 7AM-12PM;3PM-10PM | 12 | 8206 | 441 | 907 | 177 | 21 | 9752
DDOR080 | Yes | South Bay and Central Coast | Central Coast | Bank and Feeder | GREEN VALLEY BANK 4 | INSTALL GREEN VALLEY BANK 4 AND FEEDERS | 2026-05-01 | 5 | 25920.7842 | 125.8083 | 40.8196 | 66990.15 |  | GNA_0831902_Capacity | 0831902 | GREEN VALLEY BANK 2 | Capacity | DA | 6.3767 | MW | 1-12 | 259 | 7AM-10PM | 14 | 9172 | 241 | 1186 | 323 | 36 | 10958
DDOR081 | Yes | Central Valley | Fresno | Bank and Feeder | AIRWAYS BANK 3 | INSTALL NEW BANK AND FEEDER | 2026-05-01 | 5 | 17721 | 39.5313 | 48.3334 | 39655.1835 |  | GNA_2520401_Capacity | 2520401 | AIRWAYS BANK 1 | Capacity | DA | 10.2 | MW | 6-9 | 122 | 3 PM-10 PM | 6 | 9323 | 29 | 588 | 134 | 79 | 10153
DDOR081 | Yes | Central Valley | Fresno | Bank and Feeder | AIRWAYS BANK 3 | INSTALL NEW BANK AND FEEDER | 2026-05-01 | 5 | 17721 | 39.5313 | 48.3334 | 39655.1835 |  | GNA_2520402_Capacity | 2520402 | AIRWAYS BANK 2 | Capacity | DA | 5.04 | MW | 6-9 | 100 | 4 PM-10 PM | 5 | 8279 | 92 | 273 | 50 | 28 | 8722
DDOR081 | Yes | Central Valley | Fresno | Bank and Feeder | AIRWAYS BANK 3 | INSTALL NEW BANK AND FEEDER | 2026-05-01 | 5 | 17721 | 39.5313 | 48.3334 | 39655.1835 |  | GNA_2542503_Capacity | 2542503 | MALAGA BANK 3 | Capacity | DA | 5.69 | MW | 6-9 | 92 | 3 PM-10 PM | 6 | 6549 | 328 | 395 | 172 | 46 | 7490
DDOR081 | Yes | Central Valley | Fresno | Bank and Feeder | AIRWAYS BANK 3 | INSTALL NEW BANK AND FEEDER | 2026-05-01 | 5 | 17721 | 39.5313 | 48.3334 | 39655.1835 |  | GNA_252041103_Capacity | 252041103 | AIRWAYS 1103 | Capacity | DA | CC | MW | CC | CC | CC | CC | 1869 | 8 | 391 | 119 | 25 | 2412
DDOR081 | Yes | Central Valley | Fresno | Bank and Feeder | AIRWAYS BANK 3 | INSTALL NEW BANK AND FEEDER | 2026-05-01 | 5 | 17721 | 39.5313 | 48.3334 | 39655.1835 |  | GNA_253571105_Capacity | 253571105 | BARTON 1105 | Capacity | DA | CC | MW | CC | CC | CC | CC | 1988 | 0 | 80 | 42 | 18 | 2128
DDOR081 | Yes | Central Valley | Fresno | Bank and Feeder | AIRWAYS BANK 3 | INSTALL NEW BANK AND FEEDER | 2026-05-01 | 5 | 17721 | 39.5313 | 48.3334 | 39655.1835 |  | GNA_253571112_Capacity | 253571112 | BARTON 1112 | Capacity | DA | CC | MW | CC | CC | CC | CC | 1269 | 1 | 322 | 113 | 16 | 1721
DDOR081 | Yes | Central Valley | Fresno | Bank and Feeder | AIRWAYS BANK 3 | INSTALL NEW BANK AND FEEDER | 2026-05-01 | 5 | 17721 | 39.5313 | 48.3334 | 39655.1835 |  | GNA_252041102_Capacity | 252041102 | AIRWAYS 1102 | Capacity | DA | 5.14 | MW | 5-10 | 122 | 12 PM-11 PM | 9 | 3231 | 20 | 81 | 8 | 34 | 3374
DDOR081 | Yes | Central Valley | Fresno | Bank and Feeder | AIRWAYS BANK 3 | INSTALL NEW BANK AND FEEDER | 2026-05-01 | 5 | 17721 | 39.5313 | 48.3334 | 39655.1835 |  | GNA_252041107_Capacity | 252041107 | AIRWAYS 1107 | Capacity | DA | 2.49 | MW | 6-9 | 122 | 3 PM-10 PM | 6 | 2299 | 72 | 95 | 10 | 8 | 2484
DDOR081 | Yes | Central Valley | Fresno | Bank and Feeder | AIRWAYS BANK 3 | INSTALL NEW BANK AND FEEDER | 2026-05-01 | 5 | 17721 | 39.5313 | 48.3334 | 39655.1835 |  | GNA_254081102_Capacity | 254081102 | CLOVIS 1102 | Capacity | DA | CC | MW | CC | CC | CC | CC | 1115 | 50 | 98 | 41 | 7 | 1311
DDOR081 | Yes | Central Valley | Fresno | Bank and Feeder | AIRWAYS BANK 3 | INSTALL NEW BANK AND FEEDER | 2026-05-01 | 5 | 17721 | 39.5313 | 48.3334 | 39655.1835 |  | GNA_254251103_Capacity | 254251103 | MALAGA 1103 | Capacity | DA | 2.33 | MW | 6-9 | 122 | 3 PM-11 PM | 6 | 2080 | 48 | 70 | 38 | 22 | 2258
DDOR083 | Yes | Bay Area | Peninsula | Bank and Feeder | BELLE HAVEN BANK 4 | REPLACE BELLE HAVEN BANK 4 with 30 MVA BANK AND INSTALL 2 NEW FEEDERS | 2026-04-23 | 5 | 11259 | 18.3147 | 2.2715 | 5684.2104 |  | GNA_0240203_Capacity | 0240203 | BELLE HAVEN BANK 3 | Capacity | DA | 44.3541 | MW | 1-12 | 366 | 12 AM-12 AM | 24 | 817 | 0 | 197 | 171 | 11 | 1196
DDOR083 | Yes | Bay Area | Peninsula | Bank and Feeder | BELLE HAVEN BANK 4 | REPLACE BELLE HAVEN BANK 4 with 30 MVA BANK AND INSTALL 2 NEW FEEDERS | 2026-04-23 | 5 | 11259 | 18.3147 | 2.2715 | 5684.2104 |  | GNA_024021103_Capacity | 024021103 | BELLE HAVEN 1103 | Capacity | DA | 5.47 | MW | 1-12 | 366 | 5 AM-12 AM | 18 | 0 | 0 | 34 | 49 | 2 | 85
DDOR083 | Yes | Bay Area | Peninsula | Bank and Feeder | BELLE HAVEN BANK 4 | REPLACE BELLE HAVEN BANK 4 with 30 MVA BANK AND INSTALL 2 NEW FEEDERS | 2026-04-23 | 5 | 11259 | 18.3147 | 2.2715 | 5684.2104 |  | GNA_0240204_Capacity | 0240204 | BELLE HAVEN BANK 4 | Capacity | DA | CC | MW | CC | CC | CC | CC | 1 | 0 | 59 | 79 | 3 | 142
DDOR085 | Yes | Central Valley | Stockton | Feeder | RIPON 1705 | INSTALL NEW 17 kV FEEDER RIPON 1705 | 2026-05-01 | 5 | 3410 | 11.5937 | 9.7183 | 8900.737 |  | GNA_1626107_Capacity | 1626107 | MANTECA BANK 7 | Capacity | DA | 5.4079 | MW | 6-9 | 122 | 3 PM-9 PM | 5 | 6940 | 2 | 273 | 82 | 21 | 7318
DDOR085 | Yes | Central Valley | Stockton | Feeder | RIPON 1705 | INSTALL NEW 17 kV FEEDER RIPON 1705 | 2026-05-01 | 5 | 3410 | 11.5937 | 9.7183 | 8900.737 |  | GNA_1627002_Capacity | 1627002 | VIERRA BANK 2 | Capacity | DA | 12.2902 | MW | 5-9 | 143 | 12 PM-12 AM | 12 | 6359 | 100 | 306 | 264 | 45 | 7074
DDOR085 | Yes | Central Valley | Stockton | Feeder | RIPON 1705 | INSTALL NEW 17 kV FEEDER RIPON 1705 | 2026-05-01 | 5 | 3410 | 11.5937 | 9.7183 | 8900.737 |  | GNA_1638002_Capacity | 1638002 | RIPON BANK 2 | Capacity | DA | 8.9099 | MW | 5-9 | 122 | 2 PM-10 PM | 8 | 5694 | 59 | 437 | 202 | 43 | 6435
DDOR085 | Yes | Central Valley | Stockton | Feeder | RIPON 1705 | INSTALL NEW 17 kV FEEDER RIPON 1705 | 2026-05-01 | 5 | 3410 | 11.5937 | 9.7183 | 8900.737 |  | GNA_162701707_Capacity | 162701707 | VIERRA 1707 | Capacity | DA | 2.4235 | MW | 6-9 | 100 | 1 PM-9 PM | 8 | 3461 | 99 | 124 | 29 | 17 | 3730
DDOR085 | Yes | Central Valley | Stockton | Feeder | RIPON 1705 | INSTALL NEW 17 kV FEEDER RIPON 1705 | 2026-05-01 | 5 | 3410 | 11.5937 | 9.7183 | 8900.737 |  | GNA_163801704_Capacity | 163801704 | RIPON 1704 | Capacity | DA | 4.1061 | MW | 6-9 | 122 | 3 PM-2 AM | 9 | 3341 | 15 | 172 | 114 | 21 | 3663
DDOR087 | Yes | Central Valley | Stockton | Bank and Feeder | VIERRA BANK 3 | INSTALL NEW VIERRA BANK 3 AND 2 NEW FEEDERS VIERRA 1708 AND 1709 | 2027-05-01 | 5 | 14007 | 32.2056 | 8.9539 | 12825.4576 |  | GNA_1626108_Capacity | 1626108 | MANTECA BANK 8 | Capacity | DA | 7.9 | MW | 6-10 | 122 | 12 PM-11 PM | 11 | 4934 | 2 | 461 | 255 | 20 | 5672
DDOR087 | Yes | Central Valley | Stockton | Bank and Feeder | VIERRA BANK 3 | INSTALL NEW VIERRA BANK 3 AND 2 NEW FEEDERS VIERRA 1708 AND 1709 | 2027-05-01 | 5 | 14007 | 32.2056 | 8.9539 | 12825.4576 |  | GNA_1627002_Capacity | 1627002 | VIERRA BANK 2 | Capacity | DA | 12.2902 | MW | 5-9 | 143 | 12 PM-12 AM | 12 | 6359 | 100 | 306 | 264 | 45 | 7074
DDOR087 | Yes | Central Valley | Stockton | Bank and Feeder | VIERRA BANK 3 | INSTALL NEW VIERRA BANK 3 AND 2 NEW FEEDERS VIERRA 1708 AND 1709 | 2027-05-01 | 5 | 14007 | 32.2056 | 8.9539 | 12825.4576 |  | GNA_162611708_Capacity | 162611708 | MANTECA 1708 | Capacity | DA | 3.0846 | MW | 6-9 | 100 | 2 PM-9 PM | 7 | 3976 | 2 | 206 | 65 | 9 | 4258
DDOR087 | Yes | Central Valley | Stockton | Bank and Feeder | VIERRA BANK 3 | INSTALL NEW VIERRA BANK 3 AND 2 NEW FEEDERS VIERRA 1708 AND 1709 | 2027-05-01 | 5 | 14007 | 32.2056 | 8.9539 | 12825.4576 |  | GNA_162701702_Capacity | 162701702 | VIERRA 1702 | Capacity | DA | 2.8341 | MW | 6-9 | 114 | 2 PM-10 PM | 9 | 1645 | 2 | 161 | 171 | 15 | 1994
DDOR087 | Yes | Central Valley | Stockton | Bank and Feeder | VIERRA BANK 3 | INSTALL NEW VIERRA BANK 3 AND 2 NEW FEEDERS VIERRA 1708 AND 1709 | 2027-05-01 | 5 | 14007 | 32.2056 | 8.9539 | 12825.4576 |  | GNA_162701706_Capacity | 162701706 | VIERRA 1706 | Capacity | DA | 12.5241 | MW | 1-12 | 340 | 12 AM-12 AM | 24 | 2898 | 1 | 182 | 235 | 28 | 3344
DDOR096 | Yes | South Bay and Central Coast | De Anza | Feeder | WOLFE 1111 AND 1112 | INSTALL 2 NEW FEEDERS WOLFE 1111 AND 1112 | 2026-06-01 | 5 | 9300 | 29.4478 | 3.578 | 8588.9539 |  | GNA_0836702_Capacity | 0836702 | WOLFE BANK 2 | Capacity | DA | 13.4099 | MW | 1-12 | 305 | 12 AM-12 AM | 24 | 6188 | 0 | 273 | 136 | 47 | 6644
DDOR096 | Yes | South Bay and Central Coast | De Anza | Feeder | WOLFE 1111 AND 1112 | INSTALL 2 NEW FEEDERS WOLFE 1111 AND 1112 | 2026-06-01 | 5 | 9300 | 29.4478 | 3.578 | 8588.9539 |  | GNA_083671105_Capacity | 083671105 | WOLFE 1105 | Capacity | DA | CC | MW | CC | CC | CC | CC | 1944 | 0 | 151 | 113 | 20 | 2228
DDOR096 | Yes | South Bay and Central Coast | De Anza | Feeder | WOLFE 1111 AND 1112 | INSTALL 2 NEW FEEDERS WOLFE 1111 AND 1112 | 2026-06-01 | 5 | 9300 | 29.4478 | 3.578 | 8588.9539 |  | GNA_083671109_Capacity | 083671109 | WOLFE 1109 | Capacity | DA | 10.7265 | MW | 1-12 | 366 | 12 AM-12 AM | 24 | 2094 | 0 | 127 | 66 | 20 | 2307
DDOR1001 | Yes | Central Valley | Fresno | Feeder | CAMDEN 1106 | INSTALL NEW CAMDEN 1106 FEEDER | 2026-05-03 | 5 | 13980 | 176.1416 | 112.439 | 114810.3315 |  | GNA_2537101_Capacity | 2537101 | HARDWICK BANK 1 | Capacity | DA | 4.51 | MW | 4-10 | 174 | 12 AM-8 AM; 4PM -12AM | 15 | 1006 | 792 | 170 | 20 | 9 | 1997
DDOR1001 | Yes | Central Valley | Fresno | Feeder | CAMDEN 1106 | INSTALL NEW CAMDEN 1106 FEEDER | 2026-05-03 | 5 | 13980 | 176.1416 | 112.439 | 114810.3315 |  | GNA_2526805_Capacity | 2526805 | HENRIETTA BANK 5 | Capacity | DA | 1.77 | MW | 4-7 | 39 | 12AM-4AM; 4PM-9PM | 4 | 236 | 348 | 50 | 13 | 9 | 656
DDOR1001 | Yes | Central Valley | Fresno | Feeder | CAMDEN 1106 | INSTALL NEW CAMDEN 1106 FEEDER | 2026-05-03 | 5 | 13980 | 176.1416 | 112.439 | 114810.3315 |  | GNA_252301102_Capacity | 252301102 | CAMDEN 1102 | Capacity | DA | 2.66 | MW | 6-9 | 92 | 1PM-11PM | 8 | 1213 | 154 | 119 | 21 | 7 | 1514
DDOR1002 | Yes | Central Valley | Fresno | Feeder | WEST FRESNO 1113 | INSTALL 2 NEW FEEDERS WEST FRESNO 1113 AND 1114 | 2026-05-31 | 5 | 7400 | 16.5696 | 4.6206 | 7768.1985 |  | GNA_2537302_Capacity | 2537302 | WEST FRESNO BANK 2 | Capacity | DA | 18.0904 | MW | 4-10 | 206 | 7 AM-10 PM | 15 | 2827 | 15 | 699 | 213 | 22 | 3776
DDOR1002 | Yes | Central Valley | Fresno | Feeder | WEST FRESNO 1113 | INSTALL 2 NEW FEEDERS WEST FRESNO 1113 AND 1114 | 2026-05-31 | 5 | 7400 | 16.5696 | 4.6206 | 7768.1985 |  | GNA_2537301_Capacity | 2537301 | WEST FRESNO BANK 1 | Capacity | DA | 14.1105 | MW | 5-10 | 164 | 9 AM-11 PM | 14 | 7459 | 67 | 908 | 255 | 42 | 8731
DDOR1002 | Yes | Central Valley | Fresno | Feeder | WEST FRESNO 1113 | INSTALL 2 NEW FEEDERS WEST FRESNO 1113 AND 1114 | 2026-05-31 | 5 | 7400 | 16.5696 | 4.6206 | 7768.1985 |  | GNA_253731111_Capacity | 253731111 | WEST FRESNO 1111 | Capacity | DA | 2.9 | MW | 6-9 | 122 | 1PM-12AM | 9 | 2350 | 17 | 298 | 92 | 25 | 2782
DDOR1002 | Yes | Central Valley | Fresno | Feeder | WEST FRESNO 1113 | INSTALL 2 NEW FEEDERS WEST FRESNO 1113 AND 1114 | 2026-05-31 | 5 | 7400 | 16.5696 | 4.6206 | 7768.1985 |  | GNA_254251111_Capacity | 254251111 | MALAGA 1111 | Capacity | DA | CC | MW | CC | CC | CC | CC | 20 | 3 | 141 | 61 | 10 | 235
DDOR1002 | Yes | Central Valley | Fresno | Feeder | WEST FRESNO 1113 | INSTALL 2 NEW FEEDERS WEST FRESNO 1113 AND 1114 | 2026-05-31 | 5 | 7400 | 16.5696 | 4.6206 | 7768.1985 |  | GNA_252281102_Capacity | 252281102 | CALIFORNIA AVE 1102 | Capacity | DA | 12.2 | MW | 1-12 | 365 | 4AM-11PM | 18 | 131 | 13 | 167 | 109 | 13 | 433
DDOR1003 | Yes | Central Valley | Fresno | Feeder | LEMOORE 1106 | INSTALL NEW FEEDER LEMOORE 1106 | 2026-05-31 | 5 | 5400 | 153.906 | 205.7456 | 172269.8301 |  | GNA_253601105_Capacity | 253601105 | LEMOORE 1105 | Capacity | DA | 2.47 | MW | 6-9 | 122 | 2PM-10PM | 7 | 2469 | 26 | 287 | 78 | 4 | 2864
DDOR1003 | Yes | Central Valley | Fresno | Feeder | LEMOORE 1106 | INSTALL NEW FEEDER LEMOORE 1106 | 2026-05-31 | 5 | 5400 | 153.906 | 205.7456 | 172269.8301 |  | GNA_253601101_Capacity | 253601101 | LEMOORE 1101 | Capacity | DA | 1.47 | MW | 6-9 | 114 | 4PM-10PM | 5 | 2078 | 171 | 135 | 17 | 9 | 2410
DDOR1022 | Yes | Central Valley | Stockton | Feeder | CORRAL 1104 | INSTALL NEW FEEDER | 2026-06-01 | 5 | 7046 | 337.0711 | 674.1422 | 471899.5505 |  | GNA_162991101_Capacity | 162991101 | CORRAL 1101 | Capacity | DA | 2.35 | MW | 6-9 | 100 | 3 PM-10 PM | 5 | 1635 | 176 | 176 | 22 | 10 | 2019
DDOR1027 | Yes | Bay Area | Peninsula | Bank and Feeder | MILLBRAE SUBSTATION | INSTALL MILBRAE BANK 2 AND MILLBRAE 1109 FEEDER | 2026-05-02 | 5 | 20266 | 62.8594 | 12.5632 | 24085.9613 |  | GNA_0226903_Capacity | 0226903 | MILLBRAE BANK 3 | Capacity | DA | 12.39 | MW | 1-12 | 275 | 4AM-10PM | 16 | 5472 | 5 | 418 | 198 | 26 | 6119
DDOR1027 | Yes | Bay Area | Peninsula | Bank and Feeder | MILLBRAE SUBSTATION | INSTALL MILBRAE BANK 2 AND MILLBRAE 1109 FEEDER | 2026-05-02 | 5 | 20266 | 62.8594 | 12.5632 | 24085.9613 |  | GNA_0226904_Capacity | 0226904 | MILLBRAE BANK 4 | Capacity | DA | CC | MW | CC | CC | CC | CC | 5588 | 0 | 472 | 203 | 24 | 6287
DDOR1027 | Yes | Bay Area | Peninsula | Bank and Feeder | MILLBRAE SUBSTATION | INSTALL MILBRAE BANK 2 AND MILLBRAE 1109 FEEDER | 2026-05-02 | 5 | 20266 | 62.8594 | 12.5632 | 24085.9613 |  | GNA_022691101_Capacity | 022691101 | MILLBRAE 1101 | Capacity | DA | CC | MW | CC | CC | CC | CC | 313 | 0 | 244 | 88 | 3 | 648
DDOR1027 | Yes | Bay Area | Peninsula | Bank and Feeder | MILLBRAE SUBSTATION | INSTALL MILBRAE BANK 2 AND MILLBRAE 1109 FEEDER | 2026-05-02 | 5 | 20266 | 62.8594 | 12.5632 | 24085.9613 |  | GNA_022691106_Capacity | 022691106 | MILLBRAE 1106 | Capacity | DA | 1.24 | MW | 4-10 | 130 | 7AM-6PM | 8 | 275 | 0 | 105 | 69 | 8 | 457
DDOR1029 | Yes | Central Valley | Kern | Bank and Feeder | 7TH STANDARD BANK 2 | INSTALL 7TH STANDARD BANK 2 | 2026-05-01 | 5 | 20368 | 20.7502 | 2.9467 | 6052.1517 |  | GNA_2528602_Capacity | 2528602 | RIO BRAVO BANK 2 | Capacity | DA | CC | MW | CC | CC | CC | CC | 2303 | 248 | 194 | 86 | 17 | 2848
DDOR1029 | Yes | Central Valley | Kern | Bank and Feeder | 7TH STANDARD BANK 2 | INSTALL 7TH STANDARD BANK 2 | 2026-05-01 | 5 | 20368 | 20.7502 | 2.9467 | 6052.1517 |  | GNA_2545801_Capacity | 2545801 | 7TH STANDARD BANK 1 | Capacity | DA | 21.36 | MW | 4-10 | 206 | 12AM-12AM | 24 | 1704 | 25 | 58 | 64 | 7 | 1858
DDOR1029 | Yes | Central Valley | Kern | Bank and Feeder | 7TH STANDARD BANK 2 | INSTALL 7TH STANDARD BANK 2 | 2026-05-01 | 5 | 20368 | 20.7502 | 2.9467 | 6052.1517 |  | GNA_252861104_Capacity | 252861104 | RIO BRAVO 1104 | Capacity | DA | CC | MW | CC | CC | CC | CC | 0 | 13 | 9 | 23 | 7 | 52
DDOR1029 | Yes | Central Valley | Kern | Bank and Feeder | 7TH STANDARD BANK 2 | INSTALL 7TH STANDARD BANK 2 | 2026-05-01 | 5 | 20368 | 20.7502 | 2.9467 | 6052.1517 |  | GNA_254582102_Capacity | 254582102 | 7TH STANDARD 2102 | Capacity | DA | 18.66 | MW | 1-12 | 365 | 12AM-12AM | 24 | 1704 | 25 | 58 | 64 | 7 | 1858
DDOR1031 | Yes | Central Valley | Kern | Bank and Feeder | SEMITROPIC BANK 4 | INSTALL BANK AND NEW FEEDERS | 2026-05-01 | 5 | 15800 | 39.0377 | 16.4034 | 16438.893 |  | GNA_2545401_Capacity | 2545401 | GANSO BANK 1 | Capacity | DA | CC | MW | CC | CC | CC | CC | 60 | 190 | 43 | 9 | 4 | 306
DDOR1031 | Yes | Central Valley | Kern | Bank and Feeder | SEMITROPIC BANK 4 | INSTALL BANK AND NEW FEEDERS | 2026-05-01 | 5 | 15800 | 39.0377 | 16.4034 | 16438.893 |  | GNA_2529601_Capacity | 2529601 | WASCO BANK 1 | Capacity | DA | 2.08 | MW | 6-9 | 106 | 3PM-10PM | 6 | 2542 | 33 | 353 | 83 | 12 | 3023
DDOR1031 | Yes | Central Valley | Kern | Bank and Feeder | SEMITROPIC BANK 4 | INSTALL BANK AND NEW FEEDERS | 2026-05-01 | 5 | 15800 | 39.0377 | 16.4034 | 16438.893 |  | GNA_2529003_Capacity | 2529003 | SEMITROPIC BANK 3 | Capacity | DA | 13.81 | MW | 4-10 | 184 | 12 AM-10 AM; 3PM -12AM | 18 | 1887 | 377 | 132 | 44 | 5 | 2445
DDOR1031 | Yes | Central Valley | Kern | Bank and Feeder | SEMITROPIC BANK 4 | INSTALL BANK AND NEW FEEDERS | 2026-05-01 | 5 | 15800 | 39.0377 | 16.4034 | 16438.893 |  | GNA_254541103_Capacity | 254541103 | GANSO 1103 | Capacity | DA | CC | MW | CC | CC | CC | CC | 27 | 76 | 23 | 7 | 4 | 137
DDOR1031 | Yes | Central Valley | Kern | Bank and Feeder | SEMITROPIC BANK 4 | INSTALL BANK AND NEW FEEDERS | 2026-05-01 | 5 | 15800 | 39.0377 | 16.4034 | 16438.893 |  | GNA_252961102_Capacity | 252961102 | WASCO 1102 | Capacity | DA | CC | MW | CC | CC | CC | CC | 1376 | 3 | 166 | 46 | 5 | 1596
DDOR1031 | Yes | Central Valley | Kern | Bank and Feeder | SEMITROPIC BANK 4 | INSTALL BANK AND NEW FEEDERS | 2026-05-01 | 5 | 15800 | 39.0377 | 16.4034 | 16438.893 |  | GNA_252901110_Capacity | 252901110 | SEMITROPIC 1110 | Capacity | DA | 3.62 | MW | 5-9 | 153 | 12AM - 7AM; 4 PM-12 AM | 15 | 1834 | 146 | 104 | 38 | 4 | 2126
DDOR1031 | Yes | Central Valley | Kern | Bank and Feeder | SEMITROPIC BANK 4 | INSTALL BANK AND NEW FEEDERS | 2026-05-01 | 5 | 15800 | 39.0377 | 16.4034 | 16438.893 |  | GNA_252901108_Capacity | 252901108 | SEMITROPIC 1108 | Capacity | DA | CC | MW | CC | CC | CC | CC | 6 | 36 | 4 | 0 | 1 | 47
DDOR1033 | Yes | Central Valley | Stockton | Bank and Feeder | WEBER BANK 7 | INSTALL NEW WEBER BANK 7 AND NEW FEEDER WEBER 1117 | 2026-05-01 | 5 | 19965 | 33.6963 | 4.9027 | 10326.6721 |  | GNA_1634806_Capacity | 1634806 | WEBER BANK 6 | Capacity | DA | 22.97 | MW | 1-12 | 258 | 12AM-12AM | 24 | 2546 | 136 | 429 | 204 | 64 | 3379
DDOR1033 | Yes | Central Valley | Stockton | Bank and Feeder | WEBER BANK 7 | INSTALL NEW WEBER BANK 7 AND NEW FEEDER WEBER 1117 | 2026-05-01 | 5 | 19965 | 33.6963 | 4.9027 | 10326.6721 |  | GNA_1631303_Capacity | 1631303 | EAST STOCKTON BANK 3 | Capacity | DA | 4.45 | MW | 1-12 | 186 | 5AM-12AM | 16 | 2516 | 1 | 335 | 138 | 23 | 3013
DDOR1033 | Yes | Central Valley | Stockton | Bank and Feeder | WEBER BANK 7 | INSTALL NEW WEBER BANK 7 AND NEW FEEDER WEBER 1117 | 2026-05-01 | 5 | 19965 | 33.6963 | 4.9027 | 10326.6721 |  | GNA_163481110_Capacity | 163481110 | WEBER 1110 | Capacity | DA | 24.11 | MW | 1-12 | 366 | 12 AM-12 AM | 24 | 200 | 13 | 91 | 54 | 14 | 372
DDOR1033 | Yes | Central Valley | Stockton | Bank and Feeder | WEBER BANK 7 | INSTALL NEW WEBER BANK 7 AND NEW FEEDER WEBER 1117 | 2026-05-01 | 5 | 19965 | 33.6963 | 4.9027 | 10326.6721 |  | GNA_163481109_Capacity | 163481109 | WEBER 1109 | Capacity | DA | CC | MW | CC | CC | CC | CC | 1052 | 114 | 197 | 100 | 29 | 1492
DDOR1033 | Yes | Central Valley | Stockton | Bank and Feeder | WEBER BANK 7 | INSTALL NEW WEBER BANK 7 AND NEW FEEDER WEBER 1117 | 2026-05-01 | 5 | 19965 | 33.6963 | 4.9027 | 10326.6721 |  | GNA_163481102_Capacity | 163481102 | WEBER 1102 | Capacity | DA | 1.08 | MW | 6-10 | 88 | 5 AM-10 PM | 15 | 616 | 84 | 100 | 65 | 14 | 879